## Slide 1
Affiliations of author(s)
Title
Author(s)
9:16 ratio of Digital Poster Portrait Template This template has been designed to show clearly within the digital poster screen and app that will be used for the Conference.
Please clear all text and objects on this template before designing your poster.
Your poster should include the following sections: Introduction, Materials & Methods, Results, and Conclusion.
We recommend you use standard system fonts such as Calibri, Verdana, Times New Roman, or Arial.
Recommended font sizes:
48-60pt for Titles/Headings
24-30pt for Text
You are limited to 1 slide within your digital poster.
Format should be submitted in PDF only.

## Slide 2
Proton Therapy Center, National Cancer Center, Goyang, Korea 1,
Department of Radiation Oncology, Chosun University Hospital, Gwangju, Korea 2
Dosimetric evaluation of an endorectal balloon
with radiochromic …
Young Goh1, Soonki Min2, Se Byeong Lee1, Dongho Shin1, Joo-Young Kim1,
Dae Yong Kim1 and Young-Kyung Lim1
ABSTRACT
Two-dimensional (2D) in vivo rectal dosimetry using an endorectal balloon (ERB) with an unfoldable
The 2D in vivo rectal dosimetry using an ERB with an unfoldable EBT3 film is effective and valuable, and will be applicable for HDR brachytherapy for cervical cancer.
1. Introduction
2. Materials & Methods
3. Results
HDR brachytherapy for cervical cancer
Patient selection
20 patients with cervical cancer via MRI-guided intracavitary brachytherapy (ICR).
10 patients for Fletcher ( tandem, ovoids) applicator and 10 patients for Ring ( tandem, ring) applicator
All patients were prescribed with EBRT (50.4 Gy / 28 fx) + ICR (30 Gy / 6 fx)
AOCMP 2026, Pusan, Korea
Dose distributions & Gamma evaluations
High fraction size, e.g. 5 Gy/fraction or more
Steep dose gradient
Organs at risk (OAR) toxicity correlated to their volumetric dose, e.g. D(2 cm3)
Lack of image-guidance
Dose uncertainty due to applicator setup error, rectum and bladder variations, surrounding heterogeneous medium
Two-dimensional in vivo dosimetry having high resolution and Endorectal balloon (ERB) are needed to know the delivered dose accurately and to deliver the dose correctly!
CONCLUSION
4. Discussion
42 mm
Tandem
60 mm
2DD-ERB
10 mm
Ovoids
Experimental setup